## sbcr列表
sbcr列表 | ip | cpu主频 | 内存 | 前板 | 后板 | 网元协议 | 机房 | 20160701 12点流量 |  | 槽位 | 备注
控制面 | [6 empty] | 银滩3
| 172.1.1.12 | 1.2GHz | 32G | MSP | RSB21B | MME11,MME12 s1ap | 银滩4 | 242Mbps |  | 1 | 老板子改造，非正式sbcr
| 172.1.1.13 | 1.2GHz | 32G | MSP | RSB21B | s11,sgs,s6a |  | 185Mbps |  | 4 | 老板子改造，非正式sbcr
| 172.1.1.20 | 1.9GHz | 32G | MSPR3 | RSB21C | cs |  | 11Mbps | 40c | 12
| 172.1.1.21 | 1.9GHz | 32G | MSPR3 | RSB21C | MME01,MME02 s1ap |  | 236Mbps | 40c | 11
| 172.1.1.22 | 1.9GHz | 32G | SFGB | RSB21C | MME08,MME09 s1ap |  | 236Mbps | 40c | 3
| 172.1.1.24 | 1.9GHz | 32G | MSPR3 | RSB21C | MME07,MME10 s1ap |  | 266Mbps | 40c | 9
| 172.1.1.25 | 1.9GHz | 32G | MSPR3 | RSB21C | MME05,MME06 s1ap |  | 279Mbps | 40c | 6
| 172.1.1.26 | 1.9GHz | 32G | MSPR3 | RSB21C | MME03,MME04 s1ap |  | 266Mbps | 40c | 2
用户面
| 172.1.1.18 | 1.9GHz | 32G | DPIC | RSB34 |  |  | 0Mbps |  | 10
| 172.1.1.19 | 1.9GHz | 32G | DPID | RSB34 | SGW02 |  | 945Mbps |  | 13
| 172.1.1.23 | 1.9GHz | 64G | DPID | RSB34 | Gn |  |  | 40c | 5
| 172.1.1.30 | 1.9GHz | 64G | DPID | RSB34 | SGW08, |  | 5140Mbps | 40c | 14
| 172.1.1.27 | 1.9GHz | 64G |  |  | SGW05,SGW06,SGW01,SGW09 | 西固4 | 6700Mbps
| 172.1.1.28 | 1.9GHz | 32G |  |  | SGW04 |  | 583Mbps
| 172.1.1.29 | 1.9GHz | 64G |  |  | SGW12 |  | 5026Mbps
| 172.1.1.34 | 1.9GHz | 64G | DPID | RSB34 | SGW11 | 银滩3 | 2175Mbps | 40c |  | 九期硬件
| 172.1.1.32 | 1.9GHz | 64G | DPID | RSB34 | SGW13 |  | 2839Mbps | 40c
| 172.1.1.33 | 1.9GHz | 64G | DPID | RSB34 | SGW07 |  | 2074Mbps | 40c
| 172.1.1.31 |  |  |  | RSB34
| 172.1.1.35 |  |  |  | RSB21C
查看流量:cat /tmp/flow_stat_front_user

## 交换机列表
功能类型 | 类型-位置-楼层-id | 机架位置 | ip地址 | 跳转登陆机器 | telnet端口映射到 | 端口映射程序 | 端口映射配置文件
采集 | ida10-yint-4-110 | 待补充 | 192.1.1.110 | 10.238.58.125 | 11023 | /home/zxt2000/rinetd/rinetd | /etc/rinetd.conf
交换机 | ida10-yint-4-111 |  | 192.1.1.111 | 10.238.58.125 | 11123
交换机 | 5952-yint-4-113 |  | 192.1.1.113 | 10.238.58.125
控制面分流+交换机 | 5952E-yint-4-206 |  | 10.238.58.206
采集 | ida10-yint-3-110 | 待补充 | 192.1.1.110 | 10.238.58.225 |  | /home/zxt2000/rinetd | /etc/rinetd.conf | 备注: 1、交换机中互联端口一般是为了方便抓数据，或者汇聚数据到其他交换机再进行通道传输而专门布的光纤 2、S11在链路两侧都有采集过，MME侧采集和SGW侧采集，目前MME侧采集的S11数据已不再使用 3、绿色一般为数据源，黄色为数据出口，红色为问题数据
采集 | ida10-yint-3-111 |  | 192.1.2.111 | 10.238.58.225
交换机 | 5952E-yint-3-10 |  | 182.1.1.10 | 10.238.58.230
交换机 | 5952E-yint-3-11 |  | 182.1.1.11 | 10.238.58.230
交换机 | 5952E-yint-3-12 |  | 182.1.1.12 | 10.238.58.230
交换机 | 8902E-yint-3-13 |  | 未配置
采集 | ida10-yint-2-110 | 南16列5柜 | 未配置
采集 | ida10-xigu-4-112 | 待补充 | 192.1.1.112 | 10.238.58.73 | 11223 | D:\rinetd\rinetd.exe | D:\rinetd\rinetd.conf
采集 | ida10-xigu-4-113 |  | 192.1.1.113 | 10.238.58.73 | 11323
采集 | ida10-xigu-4-115 |  | 192.1.1.115 | 10.238.58.73 | 11523
采集 | ida10-xigu-4-116 | 待补充 | 192.1.1.116 | 10.238.58.73 | 11623
交换机 | 5952E-xigu-4-117 |  | 192.1.1.117 | sbcr28
交换机 | 5952E-xigu-4-118 |  | 未配置
采集 | ida10-yant-3-112 | 待补充 | 192.1.1.112 | 10.238.58.33 | 11223 | D:\rinetd\rinetd.exe | D:\rinetd\rinetd.conf
用户名密码：
ida10 | root/root | en/ida10
5952系列 | root/root | en/zxr10
机柜示意图： | 银滩3楼xx机柜 | 银滩4楼xx机柜 |  | 西固4楼xx机柜 | 西固4楼xx机柜
炎强交换机
|  | ida10-yint-4-111 |  | ida10-xigu-4-116
ida10-xigu-4-112
ida10-yint-3-110
ida10-yint-4-110
ida10-xigu-4-113
ida10-xigu-4-115
ida10-yint-4-110

## yint-4-206
gei_1 | 光功率 | up/down | in/out | 对端地址
1 | -6.42 | up | in | ida10-yint-110 xgei_1/43 | s1c,sgs,s6a
2 | -5.93 | up | in | ida10-yint-110 xgei_1/42
3 | -6.82 | up | in | ida10-yint-110 xgei_1/44
4 | -5.94 | up | in | ida10-yint-110 xgei_1/45 | s11
5 | -6.71 | up | out | ida10-yint-111 xgei_1/17
6 | -9.17 | up | out
7 | OFFLINE |  |  |  | 炎强MC数据
8 | -INF
9 | OFFLINE
10 | OFFLINE
11 | -INF
12 | -36.99
13 | OFFLINE
14 | -7.26 | up | out | 100.100.5.26 | MME03,MME04
15 | -6.49 | up | out | 100.100.5.25 | MME05,MME06
16 | -5.53 | up | out | 100.100.5.24 | MME07,MME10
gei_4 |  | up/down | in/out | 对端地址
1 | 电口 | up | out | 100.100.5.12 | MME11,MME12
2 |  | up | out | 100.100.5.22 | MME08,MME09
3 |  | up | out | 100.100.5.13 | s11,sgs,s6a
4
5 |  | up | out | 100.100.5.21 | MME01,MME02
6
7 |  |  |  | 100.100.5.20
8
分流规则：
acl extended number 104
| S11 | rule 1 permit ip any any |  | redirect 104 rule-id 1 interface gei_4/3
acl extended number 108
| MME05 | rule 1 permit ip 100.89.2.16 0.0.0.0 any |  | redirect 108 rule-id 1 interface gei_1/15
|  | rule 2 permit ip any 100.89.2.16 0.0.0.0 |  | redirect 108 rule-id 2 interface gei_1/15
|  | rule 3 permit ip 100.89.2.17 0.0.0.0 any |  | redirect 108 rule-id 3 interface gei_1/15
|  | rule 4 permit ip any 100.89.2.17 0.0.0.0 |  | redirect 108 rule-id 4 interface gei_1/15
| MME06 | rule 5 permit ip 100.89.0.8 0.0.0.0 any |  | redirect 108 rule-id 5 interface gei_1/15
|  | rule 6 permit ip any 100.89.0.8 0.0.0.0 |  | redirect 108 rule-id 6 interface gei_1/15
|  | rule 7 permit ip 100.89.0.9 0.0.0.0 any |  | redirect 108 rule-id 7 interface gei_1/15
|  | rule 8 permit ip any 100.89.0.9 0.0.0.0 |  | redirect 108 rule-id 8 interface gei_1/15
| MME07 | rule 9 permit ip 100.89.2.250 0.0.0.0 any |  | redirect 108 rule-id 9 interface gei_1/16
|  | rule 10 permit ip any 100.89.2.250 0.0.0.0 |  | redirect 108 rule-id 10 interface gei_1/16
|  | rule 11 permit ip 100.89.2.251 0.0.0.0 any |  | redirect 108 rule-id 11 interface gei_1/16
|  | rule 12 permit ip any 100.89.2.251 0.0.0.0 |  | redirect 108 rule-id 12 interface gei_1/16
| MME10 | rule 13 permit ip 100.89.0.10 0.0.0.0 any |  | redirect 108 rule-id 13 interface gei_1/16
|  | rule 14 permit ip any 100.89.0.10 0.0.0.0 |  | redirect 108 rule-id 14 interface gei_1/16
|  | rule 15 permit ip 100.89.0.11 0.0.0.0 any |  | redirect 108 rule-id 15 interface gei_1/16
|  | rule 16 permit ip any 100.89.0.11 0.0.0.0 |  | redirect 108 rule-id 16 interface gei_1/16
| MME08 | rule 17 permit ip 100.89.2.252 0.0.0.0 any |  | redirect 108 rule-id 17 interface gei_4/2
|  | rule 18 permit ip any 100.89.2.252 0.0.0.0 |  | redirect 108 rule-id 18 interface gei_4/2
|  | rule 19 permit ip 100.89.2.253 0.0.0.0 any |  | redirect 108 rule-id 19 interface gei_4/2
|  | rule 20 permit ip any 100.89.2.253 0.0.0.0 |  | redirect 108 rule-id 20 interface gei_4/2
| MME09 | rule 21 permit ip 100.89.2.254 0.0.0.0 any |  | redirect 108 rule-id 21 interface gei_4/2
|  | rule 22 permit ip any 100.89.2.254 0.0.0.0 |  | redirect 108 rule-id 22 interface gei_4/2
|  | rule 23 permit ip 100.89.2.255 0.0.0.0 any |  | redirect 108 rule-id 23 interface gei_4/2
|  | rule 24 permit ip any 100.89.2.255 0.0.0.0 |  | redirect 108 rule-id 24 interface gei_4/2
| MME01 | rule 25 permit ip 100.89.0.1 0.0.0.0 any |  | redirect 108 rule-id 25 interface gei_4/5
|  | rule 26 permit ip any 100.89.0.1 0.0.0.0 |  | redirect 108 rule-id 26 interface gei_4/5
|  | rule 27 permit ip 100.89.0.2 0.0.0.0 any |  | redirect 108 rule-id 27 interface gei_4/5
|  | rule 28 permit ip any 100.89.0.2 0.0.0.0 |  | redirect 108 rule-id 28 interface gei_4/5
| MME02 | rule 29 permit ip 100.89.2.1 0.0.0.0 any |  | redirect 108 rule-id 29 interface gei_4/5
|  | rule 30 permit ip any 100.89.2.1 0.0.0.0 |  | redirect 108 rule-id 30 interface gei_4/5
|  | rule 31 permit ip 100.89.2.2 0.0.0.0 any |  | redirect 108 rule-id 31 interface gei_4/5
|  | rule 32 permit ip any 100.89.2.2 0.0.0.0 |  | redirect 108 rule-id 32 interface gei_4/5
| MME03 | rule 33 permit ip 100.89.2.3 0.0.0.0 any |  | redirect 108 rule-id 33 interface gei_1/14
|  | rule 34 permit ip any 100.89.2.3 0.0.0.0 |  | redirect 108 rule-id 34 interface gei_1/14
|  | rule 35 permit ip 100.89.2.4 0.0.0.0 any |  | redirect 108 rule-id 35 interface gei_1/14
|  | rule 36 permit ip any 100.89.2.4 0.0.0.0 |  | redirect 108 rule-id 36 interface gei_1/14
| MME04 | rule 37 permit ip 100.89.4.1 0.0.0.0 any |  | redirect 108 rule-id 37 interface gei_1/14
|  | rule 38 permit ip any 100.89.4.1 0.0.0.0 |  | redirect 108 rule-id 38 interface gei_1/14
|  | rule 39 permit ip 100.89.4.2 0.0.0.0 any |  | redirect 108 rule-id 39 interface gei_1/14
|  | rule 40 permit ip any 100.89.4.2 0.0.0.0 |  | redirect 108 rule-id 40 interface gei_1/14
| MME11 | rule 41 permit ip 100.89.0.4 0.0.0.0 any |  | redirect 108 rule-id 41 interface gei_4/1
|  | rule 42 permit ip any 100.89.0.4 0.0.0.0 |  | redirect 108 rule-id 42 interface gei_4/1
|  | rule 43 permit ip 100.89.0.6 0.0.0.0 any |  | redirect 108 rule-id 43 interface gei_4/1
|  | rule 44 permit ip any 100.89.0.6 0.0.0.0 |  | redirect 108 rule-id 44 interface gei_4/1
| MME12 | rule 45 permit ip 100.89.0.5 0.0.0.0 any |  | redirect 108 rule-id 45 interface gei_4/1
|  | rule 46 permit ip any 100.89.0.5 0.0.0.0 |  | redirect 108 rule-id 46 interface gei_4/1
|  | rule 47 permit ip 100.89.0.7 0.0.0.0 any |  | redirect 108 rule-id 47 interface gei_4/1
|  | rule 48 permit ip any 100.89.0.7 0.0.0.0 |  | redirect 108 rule-id 48 interface gei_4/1
rule 1000 permit ip any any
redirect 108 rule-id 1000 interface gei_4/3

## yint-4-110
xgi_1 | GE/10GE | Rx光功率 | in/out | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2 | 备注
1 | 1000 | -7.66 | in | ida10-xigu-4-112 xgei_1/8 | SGW09(GGSN15) | S1-U | 暂停中 |  |  |  | in | 已停 | MME 02,03 | s1c,s6a,sgs | 银滩3楼 | s1mme,s6a,sgs | 3F->4F | (炎强采集)已割到1分8,此口已无数据,数据接入银滩3楼ida10,进入此ida10的24口
2 | 1000 | -8.42 | in |  | MME04 | s1c,s6a,sgs | 10Eric-LTE | s1mme,s6a,sgs | 雁滩->4F
3 | 1000 | -8.42 | in |  | MME01 | s1c,s6a,sgs | 银滩-西固 | GE0038IPBB/入 | 南A列02A架 ODB3-20/48 | (炎强采集)已割到1分8,继续使用炎强汇聚设备,此口数据未变 | 10000 | -3.99 | in | 已停 | MME04 | s11 | 银滩-雁滩 S11 | GE0032IPBB/入 | 南A列02A架 ODB3-33/34
4 | 1000 | -6.95 | in | ida10-xigu-4-112 xgei_1/7 | SGW09(GGSN15) | S1-U | 暂停中
5 | 10000 | -3.68 | in |  | MME 7,8,9 | s1c,s6a,sgs | 银滩-雁滩 S11 | GE0033IPBB/入 | 南A列02A架 ODB3-35/36
6 | 10000 | -4.07 | in | ida10-yint-3-110 xgei_1/27 | SGW08(GGSN12) | [5 empty] | 1000 | -8.00 | in | 已停 | MME02 | s11 | 银滩-华为-S11 | 2F->4F
7 | 10000 | -15.16 | in |  | SGW02(GGSN14) | S1-U |  |  |  |  | 10000 | -13.75 | in | 已停 | MME03 | s11 | 银滩-Ericsson-S1-U | 南C4-PFS-1-11 | 2
9 | 10000 | -16.93 | in | [7 empty] | 10000 | -15.90 | in | [5 empty] | 1
8 | 10000 | -13.73 | in | [7 empty] | 10000 | -13.81 | in |  |  |  | 银滩-Ericsson-S1-U | 南C4-PFS-1-12 | 3
10 | 10000 | -18.27 | in | [7 empty] | 10000 | -21.49 | in | [5 empty] | 4
11 | 1000 | -6.75 | in |  |  |  | 炎强MC口数据
12 | 1000 | -7.15 | in
13 | 1000 | -13.35 | in
14 | 1000 | -7.45 | in
15 | 1000 | -5.87 | in
16 | 1000 | -7.50 | in
17 | 1000 | -7.09 | in
18 | 1000 | -7.12 | in
19 | 1000 | -6.91 | in
20 | 1000 | -6.95 | in
21 | 1000 | -6.03 | in
22 | 1000 | -6.72 | in
23 | 1000 | -7.48 | in |  | MME06,MME10 | s1c,s6a,sgs | 银滩-西固 | GE0040NM/入 | 南A列02A架-42/43
24 | 1000 | -25.23 | in | ida10-yint-3-110 xgei_1/37 | MME 05,02,03 | s1c,s6a,sgs | 银滩4楼-3楼（光纤直连)
25 | 10000 | -4.43 | in/out | ida10-xigu-4-112 xgei_1/26 | 38 | Gn | 传gn到西固,传xx到银滩 |  | 10GE传输通道
26 | 10000 | -4.55 | out | sbcr23
27 | 10000 | -17.54 |  | ida10-yint-3-110 xgei_1/30 | SGW08,SGW07,SGW13 | Gn
28 |  | -10.42 |  | sbcr19 | [5 empty] | 预留抓包口
29 | 1000 | -6.31 | in | ida10-xigu-4-112 xgei_1/6 |  |  | 银滩-西固 | GE0027IPBB/入 | 南A列02A架 ODB2-20/21 | 过滤后的gtpv2数据
30 | 1000 | -27.21 | in | ida10-xigu-4-113 xgei_1/24 | MME 11,12 | s1c,s6a,sgs | 银滩-西固 | GE0026IPBB/入 | 南A列02A架 ODB2-18/19
31 | 1000 |  | out | 5952E-yint-4-206 gei_1/7 | 炎强MC数据
32 | 1000 | -5.40 | out | 炎强
33 | 1000 | -5.54 | out | 炎强
34 | 1000 | OFFLINE
35 |  | -2.53 |  | sbcr18
36 | 10000 | -2.38 | in and out | 互联 ida10-yint-4-111 同端口
37 | 1000 | -5.73 |  | 20板卡
38 |  | -2.56 |  | sbcr30
39 | 1000 | OFFLINE
40 | 1000 | OFFLINE
41 | 1000 | -4.59 | out | 炎强 |  |  | mme 789
42 | 1000 | -7.31 | out | 5952E-yint-4-206 | gei_1/2 |  |  |  |  | MME 4,11,12
43 | 1000 | -5.82 | out |  | gei_1/1 |  |  |  |  | MME 1,7,8,9,6,10
44 | 1000 | -7.14 | out |  | gei_1/3 |  |  |  |  | MME 5,2,3
45 | 1000 | -6.44 | out |  | gei_1/4 |  |  |  |  | gtpv2
46 | 1000 | -5.93 | out | 炎强 |  |  | mc |  |  | 11至22
47 | 1000 | N/A | out | 无网线
48 | 1000 | N/A | out | 抓包口，连214机器 | [5 empty] | 预留抓包口

## yint-4-111
xgi_1 | GE/10GE | Rx光功率 | in/out | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2
1
2
3 |  | OFFLINE | [7 empty] | 备注：VLAN1112为172网段的通信所用，非数据采集
4 |  | -28.54
5
6
7
8
9 |  | -5.14 |  | lte机器 | VLAN1112
10 |  | -2.69
11 |  | -2.86
12 |  | -7.57
13 |  | -2.76
15 |  | -3.25
16 |  | -2.27
14
17 | 1000 | -6.28 |  | 5952E-yint-4-206 gei_1/5
18 | 1000 | -4.44 |  | 5952E-yint-4-206 gei_1/6
19 | 1000 | -INF |  | 5952E-yint-4-206 gei_1/7
20
21 | 1000 | -INF |  | 5952E-yint-4-206 gei_1/8
22 | 1000 | -INF |  | 5952E-yint-4-206 gei_1/9
23 | 1000 | -INF |  | 5952E-yint-4-206 gei_1/10
24 | 1000 | -INF |  | 5952E-yint-4-206 gei_1/11
25 | 1000 | -INF |  | 5952E-yint-4-206 gei_1/12
26 | 1000 | -INF |  | 5952E-yint-4-206
27 | 1000 | -INF |  | 5952E-yint-4-206
28
29 | 1000 | -INF |  | 5952E-yint-4-206
30 | 1000 | -INF |  | 5952E-yint-4-206
31 |  | OFFLINE
32 |  | OFFLINE
33 | 10000 | -14.38 |  | lte机器
34
35 |  | OFFLINE |  | lte机器 |  |  | 118
36 |  | -2.32
37 |  | OFFLINE
38
39 |  | OFFLINE
40 |  | OFFLINE
41
42
43 |  | OFFLINE
44
45 |  | OFFLINE
46 |  | OFFLINE
47 |  | OFFLINE
48 |  | OFFLINE |  | 网线214机器抓包口

## xigu-4-112
xgi_1 | GE/10GE | Rx光功率 | up/down | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2 | 博瑞德割接 | 1/2光纤标签 | 1/8光纤标签 | 汇聚侧光纤标签
1 | 10000 | -7.09 | up |  | SGW09(GGSN15) | Gn |  |  | 未知 |  | 133 | 141 | 1
2 | 10000 | -7.39 | up | [5 empty] | 下行 |  | 134 | 142 | 2
3 | 10000 | -7.47 | up | [5 empty] | 下行 |  | 135 | 143 | 3
4 | 10000 | -8.53 | up | [5 empty] | 上行 |  | 136 | 144 | 4
5 | 1000 | -6.71 | up | 互联ida10-xigu-4-115 xgei_1/21
6 | 1000 | -6.24 | up | ida10-yint-4-110 xgei_1/29 |  | s11 gtpv2 | GE通道
7 | 1000 | -5.81 | up | ida10-yint-4-111 xgei_1/2 |  |  | GE通道
8 | 1000 | -5.58 | up | ida10-yint-4-111 xgei_1/1 |  |  | GE通道
9 | 10000 | -8.40 | up |  | SGW05(GGSN09) | S1-U | [5 empty] | 177 西10列06架 43#
10 | 10000 | -8.04 | up | [8 empty] | 178
11 | 10000 | -7.14 | up | [8 empty] | 179
12 | 10000 | -8.04 | up | [8 empty] | 180
13 | 10000 | -6.82 | up | [8 empty] | 181 西10列06架 44#
14 | 10000 | -8.16 | up | [8 empty] | 182
15 | 10000 | -8.06 | up | [8 empty] | 183
16 | 10000 | -8.33 | up | [8 empty] | 184
17 | 10000 | -8.62 | up |  | SGW12(GGSN18) | S1-U
18 | 10000 | -12.68 | up
19 | 1000 | -INF | down | [8 empty] | 181 西6列07架 15#
20 | 1000 | OFFLINE | down | [8 empty] | 182
21 | 1000 | -INF | down | [8 empty] | 183
22 | 1000 | -36.99 | down | [8 empty] | 184
23 | 10000 | -2.22 | up | 互联ida10-xigu-4-116 xgei_1/48 | gn | 用于过滤gtpv2
24 | 10000 | -1.95 | up | 互联ida10-xigu-4-116 xgei_1/47 | gn | 多传一份全量gn
25 | 10000 | -7.64 | up |  | SGW01(GGSN13) | S1-U
26 | 10000 | -2.76 | up | ida10-yint-4-111 xgei_1/20 |  | 从银滩传回gn | 10GE数据通道
27 | 10000 | -6.34 | up |  | SGW01(GGSN13) | S1-U
28 | 10000 | -8.47 | up |  | SGW09(GGSN15) | S1-U |  |  |  |  | 137 | 145 | 5
29 | 10000 | -6.89 | up |  | SGW01(GGSN13) | S1-U
30 | 10000 | -7.72 | up
31 | 10000 | -7.81 | up |  | SGW12(GGSN18) | S1-U
32 | 10000 | -8.47 | up |  | SGW09(GGSN15) | S1-U |  |  |  |  | 138 | 146 | 6
33 | 10000 | -9.76 | up |  | SGW12(GGSN18) | S1-U
34 | 10000 | -8.05 | up
35 | 10000 | -9.15 | down
36 | 10000 | -4.23 | up | sbcr27_1 |  |  |  |  | 抓包
37 | 1000 | -6.74 | up | ida10-yint-4-110 xgei_1/23 |  | s1c,sgs,s6a | GE通道
38 | 10000 | OFFLINE | down
39 | 10000 | -2.53 | up | ida10-xigu-4-115 xgei_1/23
40 | 10000 | -16.95 | up | sbcr29
41 | 10000 | -7.67 | up |  | SGW09(GGSN15) | S1-U |  |  |  |  | 139 | 147 | 7
42 | 10000 | -6.71 | up | [7 empty] | 140 | 148 | 8
43 | 10000 | -11.13 | up |  | SGW12(GGSN18) | S1-U
44 | 10000 | -7.66 | up
45 | 10000 | -8.22 | up |  | SGW01(GGSN13) | S1-U
46 | 10000 | -8.52 | up
47 | 10000 | -7.83 | up
48 | 10000 | -7.12 | up
[11 empty] | 21 | 173 | 5B | 早期sgw01
|  |  |  | 20160616 停止通过7/8口传输sgw09 s1-u到银滩 | [6 empty] | 22 | 174 | 7B
[11 empty] | 23 | 175 | 8B
[6 empty] | 注意：此设备多处使用redirect转发数据 |  |  |  |  | 24 | 176 | 9B

## xigu-4-113
xgi_1 | GE/10GE | Rx光功率 | in/out | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2 | 博瑞德割接 | 1/2光纤标签 | 1/8光纤标签 | 汇聚侧光纤标签
1 |  | OFFLINE
2 | 1000 | -15.58 |  |  | MME 11 | s1c |  |  |  |  | 1 | 1 | 1
3 | 1000 | -15.62 |  |  | MME 11 | s1c |  |  |  |  | 2 | 2 | 2
4 | 1000 | -15.03 |  |  | MME 12 | s1c |  |  |  |  | 9 | 9 | 9
5 |  | -INF
6 | 1000 | -14.91 |  |  | MME 12 | s6a,sgs |  |  |  |  | 13 | 13 | 13
7 | 1000 | -20.04 |  |  | MME 12 | s1c |  |  |  |  | 10 | 10 | 10
8 | 1000 | -16.46 |  |  | MME 11 | s6a,sgs |  |  |  |  | 5 | 5 | 5
9 | 1000 | -15.73 |  |  | MME 11 | s1c |  |  |  |  | 3 | 3 | 3
10 | 1000 | -15.38 |  |  | MME 11 | s6a,sgs |  |  |  |  | 6 | 6 | 6
11 | 1000 | -15.54 |  |  | MME 12 | s1c |  |  |  |  | 11 | 11 | 11
12 | 1000 | -15.65 |  |  | MME 12 | s1c |  |  |  |  | 12 | 12 | 12
13 | 1000 | -13.99 |  |  | MME 12 | s6a,sgs |  |  |  |  | 14 | 14 | 14
14 | 1000 | -15.56 |  |  | MME 11 | s6a,sgs |  |  |  |  | 7 | 7 | 7
15 | 1000 | -19.63 |  |  | MME 11 | s1c |  |  |  |  | 4 | 4 | 4
16 | 1000 | -15.13 |  |  | MME 12 | s6a,sgs |  |  |  |  | 15 | 15 | 15
17 |  | N/A
18 | 1000 | -16.06 |  |  | MME 11 | s6a,sgs |  |  |  |  | 8 | 8 | 8
19 |  | OFFLINE
20 |  | OFFLINE
21 |  | OFFLINE
22 | 1000 | -14.37 |  |  | MME 12 | s6a,sgs |  |  |  |  | 16 | 16 | 16
23 |  | OFFLINE
24 | 1000 | -6.95 | out | ida10-yint-4-110 xgei_1/30 | MME 11,12 | s1c,s6a,sgs

## xigu-4-115
xgi_1 | GE/10GE | Rx光功率 | in/out | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2 | 博瑞德割接 | 1/2光纤标签 | 1/8光纤标签 | 汇聚侧光纤标签
1 | 10GE | -14.92 | in |  | SGW06(GGSN10) | S1-U |  |  |  |  | 149 | 157 | 17A
2 | 10GE | -7.65 | in | [7 empty] | 150 | 158 | 18A
3 | 10GE | -8.22 | in | [7 empty] | 151 | 159 | 19A
4 | 10GE | -7.63 | in | [7 empty] | 152 | 160 | 20A
5 | 10GE | -11.94 | in | [7 empty] | 153 | 161 | 21A
6 | 10GE | -9.16 | in | [7 empty] | 154 | 162 | 22A
7 | 10GE | -8.02 | in | [7 empty] | 155 | 163 | 23A
8 | 10GE | -7.73 | in | [7 empty] | 156 | 164 | 24A
9 | 10GE | OFFLINE
10 | 10GE | OFFLINE
11 | 10GE | OFFLINE
12 | 10GE | OFFLINE
13 | 10GE | -8.31 | in |  | SGW04(GGSN08) | S1-U |  |  |  |  | 141 | 149 | 9A
14 | 10GE | -7.23 | in | [7 empty] | 142 | 150 | 10A
15 | 10GE | -7.60 | in | [7 empty] | 143 | 151 | 11A
16 | 10GE | -7.58 | in | [7 empty] | 144 | 152 | 12A
17 | 10GE | -7.94 | in | [7 empty] | 145 | 153 | 13A
18 | 10GE | -8.09 | in | [7 empty] | 146 | 154 | 14A
19 | 10GE | -7.80 | in | [7 empty] | 147 | 155 | 15A
20 | 10GE | -7.15 | in | [7 empty] | 148 | 156 | 16A
21 | GE | -6.73 | out | ida10-xigu-4-112 xgei_1/5
22 | 10GE | -2.51 | out | sbcr27_0
23 | 10GE | -19.21 | out | ida10-xigu-4-112 xgei_1/39
24 | 10GE | -2.64 | out | sbcr28_1
25 | GE | -14.57 | in |  | MME06(SGSN09) | s1c,sgs,s6a |  |  |  |  | 17 | 17 | 17
26 | GE | -15.44 | in | [7 empty] | 18 | 18 | 18
27 | GE | -15.97 | in | [7 empty] | 19 | 19 | 19
28 | GE | -15.42 | in | [7 empty] | 20 | 20 | 20
29 | GE | -15.35 | in | [7 empty] | 21 | 21 | 21
30 | GE | -14.96 | in | [7 empty] | 22 | 22 | 22
31 | GE | -15.17 | in | [7 empty] | 23 | 23 | 23
32 | GE | -15.21 | in | [7 empty] | 24 | 24 | 24
33 | GE | -16.42 | in | [7 empty] | 25 | 25 | 25
34 | GE | -15.77 | in | [7 empty] | 26 | 26 | 26
35 | GE | -15.14 | in | [7 empty] | 27 | 27 | 27
36 | GE | -14.71 | in | [7 empty] | 28 | 28 | 28
37 | GE | -15.26 | in |  | MME10(SGSN13) | s1c,sgs,s6a |  |  |  |  | 29 | 29 | 29
38 | GE | -15.54 | in | [7 empty] | 30 | 30 | 30
39 | GE | -15.10 | in | [7 empty] | 31 | 31 | 31
40 | GE | -14.32 | in | [7 empty] | 32 | 32 | 32
41 | GE | -15.78 | in | [7 empty] | 33 | 33 | 33
42 | GE | -16.11 | in | [7 empty] | 34 | 34 | 34
43 | GE | -16.11 | in | [7 empty] | 35 | 35 | 35
44 | GE | -14.45 | in | [7 empty] | 36 | 36 | 36
45 | GE | -14.70 | in | [7 empty] | 37 | 37 | 37
46 | GE | -15.41 | in | [7 empty] | 38 | 38 | 38
47 | GE | -14.89 | in | [7 empty] | 39 | 39 | 39
48 | GE | -16.29 | in | [7 empty] | 40 | 40 | 40

## xigu-4-116
xgi_1 | GE/10GE | Rx光功率 | in/out | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2 |  |  |  | 1/8分光器位置
1 | 10GE | -7.2 | up |  | SGW04(GGSN08) | Gn | [6 empty] | 西6列07架 1#
2 | 10GE | -7.33 | up
3 | 10GE | -8.93 | up
4 | 10GE | -8.07 | up
5 | 10GE | -12.17 | up |  | SGW12(GGSN18) | Gn | [6 empty] | 2#
6 | 10GE | -7.95 | up
7 | 10GE | -7.18 | up
8 | 10GE | -7.51 | up
9 | 10GE | -15.09 | up |  | SGW06(GGSN10) | Gn | [6 empty] | 3#
10 | 10GE | -15.13 | up
11 | 10GE | -15.65 | up
12 | 10GE | -15.58 | up
13 | GE | -15.44 | up |  | SGW05(GGSN09) | Gn | [6 empty] | 4#
14 | GE | -16.64 | up
15 | GE | -16.35 | up
16 | GE | -15.67 | up
17 |  | OFFLINE | down | [9 empty] | 5#
18 |  | OFFLINE | down
19 |  | OFFLINE | down
20 |  | OFFLINE | down
21 | 10GE | -7.65 | up |  | SGW01(GGSN13) | Gn | [6 empty] | 6#
22 | 10GE | -7.49 | up
23 | 10GE | -8.03 | up
24 | 10GE | -7.04 | up
25 | 电口 | N/A | up |  | 2/3G采集数据 | Gn | [5 empty] | 21
26 | 电口 | N/A | up | [8 empty] | 13
27 | 电口 | N/A | up | [8 empty] | 0
28 | 电口 | N/A | up | [8 empty] | 0
29 | 电口 | N/A | up | [8 empty] | 20
30 | 电口 | N/A | up | [8 empty] | 27
31 | 电口 | N/A | up | [8 empty] | 5
32 |  | OFFLINE | down
33 |  | N/A | up |  | 汇聚以上gn数据到xppu | Gn |  |  |  |  | 62
34 |  | N/A | up | [7 empty] | 69
35 |  | N/A | up | [7 empty] | 41
36 |  | N/A | up | [7 empty] | 52
37 |  | N/A | up | [7 empty] | 39
38 |  | N/A | up | [7 empty] | 43
39 |  | N/A | up | [7 empty] | 35
40 |  | N/A | up | [7 empty] | 47
41 |  | -6.31 | up | 自连(入口与出口相连) | 25-31口数据的回环口，用来复制数据 | gn | [5 empty] | 21
42 |  | -6.48 | up | [8 empty] | 0
43 |  | -10.58 | up | [8 empty] | 20
44 |  | -5.9 | up | [8 empty] | 46
45 |  | OFFLINE | down | sbcr28 port 0 已拔 | [5 empty] | gn用户面数据处理板
46 |  | -3.47 | up | 5952e-xigu-4-117 xgei-0/1/6/1 | [5 empty] | 预留抓包口
47 |  | -2.52 | up | ida10-xigu-4-112 xgei-1/24 | [5 empty] | ggsn15数据回传，给2/3G
48 |  | -2.69 | up | ida10-xigu-4-112 xgei-1/23 | [5 empty] | gn数据出口
注意：此设备多处使用redirect转发数据

## yint-2-110
xgi_1 | GE/10GE | up/down | in/out | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2
1 |  |  |  |  | SGW08(GGSN12) | S1-U
2
3
4
5
6
7
8
9 |  |  |  |  | MME05 | s1c
10
11
12
13 |  |  |  |  | MME05 | s1c
14
15 | [5 empty] | s6a
16
17
18
19 | [5 empty] | sgs
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36 |  |  |  |  | SGW08(GGSN12) | Gn
37
38
39
40
41
42
43
44
45
46
47
48

## yint-3-110
xgi_1 | GE/10GE | up/down | Rx光功率 | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2 | 1/2标签 | 1/8标签 | 汇聚侧标签
1 | 1000 | up | -14.63 | 暂停 | MME02 | s11
2 | 1000 | up | -16.25
3 | 1000 | up | -16.78
4 | 1000 | up | -14.91
5 | 1000 | up | -14.72
6 | 1000 | up | -18.54
7 | 1000 | up | -14.17
8 | 1000 | up | -14.99
9 | 10000 | up | -7.08 |  | SGW02(GGSN14) | Gn
10 | 10000 | up | -7.53
11 | 10000 | up | -6.91
12 | 10000 | up | -7.71
13 | 1000 |  | -15.78 |  | MME02、MME03 | s1c,sgs,s6a |  |  |  | 29 | 29 | 1
14 | 1000 |  | -15.65 | [6 empty] | 30 | 30 | 2
15 | 1000 |  | -14.79 | [6 empty] | 31 | 31 | 3
16 | 1000 |  | -14.72 | [6 empty] | 32 | 32 | 4
17 | 1000 |  | -15.72 | [6 empty] | 37 | 37 | 5
18 | 1000 |  | -14.31 | [6 empty] | 38 | 38 | 6
19 | 1000 |  | -20.71 | [6 empty] | 39 | 39 | 13
20 | 1000 |  | -15.02 | [6 empty] | 40 | 40 | 8
21 | 1000 |  | -15.64 | [6 empty] | 33 | 33 | 9
22 | 1000 |  | -15.39 | [6 empty] | 34 | 34 | 10
23 | 1000 |  | -15.70 | [6 empty] | 35 | 35 | 11
24 | 1000 |  | -16.93 | [6 empty] | 36 | 36 | 12
25 | 1000 | up | -10.27 | ida10-yint-2-110 | MME05 | s1c,sgs,s6a | 中兴3/4 | 楼间ODF2-3/4
26 | 10000 | up | -8.98 | ida10-yint-2-110 | SGW08 | S1-U | 中兴1/2 | 楼间ODF2-1/2
27 | 10000 | up | -2.68 | ida10-yint-4-111 xgei_1/14 | 透传 26 | S1-U | 信令监测3楼A1/A2
28 | 10000 | up | -3.60 | ida10-yint-2-110 | SGW08 | Gn | 信令楼间10-3/4(3-2)
29 |  | up | -9.89 | 20160316 | SGW07 | Gn | Gn-1
30 | 10000 | up | -17.70 | ida10-yint-4-111 xgei_1/38 | 透传 9-12,28,27,38,31-36,48 | Gn | 中兴信令3楼-4楼 01/02（黄色标签）
31 |  | up | -9.37 |  | SGW07 | Gn | Gn-2
32 |  | up | -10.91 |  |  |  | Gn-3
33 |  | up | -9.32 |  |  |  | Gn-4 | [5 empty] | 4楼
34 |  | up | -11.25 |  | SGW13 | Gn | Gn-1 | [5 empty] | 11
35 |  | up | -9.95 |  |  |  | Gn-2 | [5 empty] | 14
36 |  | up | -9.91 |  |  |  | Gn-3 | [5 empty] | 28
37 | 1000 | up | -29.59 | ida10-yint-4-110 xgei_1/24 | 透传 25,13-24,39-46 | s1c,sgs,s6a | 银滩3楼-4楼 千兆直连 | 楼间ODF04架 ODB1-23/24
38 |  |  | -11.01 |  | SGW13 | Gn | Gn-4
39 | 1000 |  | -15.48 |  | MME02、MME03 | s1c,sgs,s6a |  |  |  | 21 | 21 | 1
40 | 1000 |  | -15.58 | [6 empty] | 22 | 22 | 2
41 | 1000 |  | -14.96 | [6 empty] | 23 | 23 | 3
42 | 1000 |  | -15.69 | [6 empty] | 24 | 24 | 4
43 | 1000 |  | -14.71 | [6 empty] | 25 | 25 | 5
44 | 1000 |  | -15.90 | [6 empty] | 26 | 26 | 6
45 | 1000 |  | -15.78 | [6 empty] | 27 | 27 | 7
46 | 1000 |  | -15.58 | [6 empty] | 28 | 28 | 8
47 |  |  |  | yint-3-111 xgei_1/47
48 |  |  |  | yint-3-111 xgei_1/48 | sgw11 | Gn
注意：此设备多处使用redirect转发数据,还有monitor session转发

## yint-3-111
xgi_1 | GE/10GE | up/down | Rx光功率 | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2 | 1/2分光器
1 | 10000 | up | -9.67 |  | SGW07 | S1U
2 | 10000 | up | -18.27
3 | 10000 | up | -9.83
4 | 10000 | up | -10.81
5 | 10000 | up | -9.69
6 | 10000 | up | -11
7 | 10000 | up | -8.68
8 | 10000 | up | -10.2
9 | 10000 | up | -9.87 |  | SGW13 | S1U
10 | 10000 | up | -11.47
11 | 10000 | up | -9.64
12 | 10000 | up | -10
13 | 10000 | up | -10.13
14 | 10000 | up | -11
15 | 10000 | up | -9.92
16 | 10000 | up | -11.84
17 | 10000 |  | -8.12 |  | SGW11 | S1U
18 | 10000 |  | -7.44
19 | 10000 |  | -7.78
20 | 10000 |  | -7.73
21 | 10000 |  | -19.14
22 | 10000 |  | -7.45
23 | 10000 |  | -15.32
28 | 10000 |  | -7.94 | [5 empty] | 注意端口
25 | 10000 |  | -8.1 |  | SGW11 | Gn |  | 上行
26 | 10000 |  | -8.57 |  |  |  |  | 下行
27 | 10000 | [6 empty] | 上行
24 | 10000 | [6 empty] | 下行
29 | 10000 |  | OFFLINE
30 | 10000 |  | OFFLINE
31 | 10000 |  | OFFLINE
32 | 10000 |  | OFFLINE
33 | 10000 |  | OFFLINE
34 | 10000 |  | OFFLINE
35 | 10000 |  | OFFLINE
36 | 10000 |  | OFFLINE
37 | 10000 |  | -2.29 | sbcr31
38 | 10000 |  | -33.98 | sbcr32 |  | sgw07
39 | 10000 |  | -31.55 | sbcr33 |  | sgw13
40 | 10000 |  | -2.97 | sbcr34 |  | sgw11
41 | GE |  | -5.23 | sbcr35
42 | 10000 |  | OFFLINE
43 | 10000 |  | OFFLINE
44 | 10000 |  | OFFLINE
45 | 10000 |  | OFFLINE
46 | 10000 |  | OFFLINE
47 | 10000 | up | -4 | yint-3-110 xgei_1/47
48 | 10000 | up | -2.25 | yint-3-110 xgei_1/48 |  | gn

## yant-3-112
xgi_1 | GE/10GE | Rx光功率 | in/out | 对端地址 | 采集网元 | 采集协议 | 标签1 | 标签2 | 标签2
1 |  | -11.33 |  |  |  | s11
2 |  | -16.42
3 | 10000 | -3.61 | out | ida10-yint-4-110 xgei_1/4
4 |  | OFFLINE
5 |  | -13.41 |  |  |  | s11
6 |  | -16.29
7 | 10000 | -2.81 | out | ida10-yint-4-110 xgei_1/5
8 |  | OFFLINE
9 |  | -11.69 |  |  | MME7,MME8,MME9 | sgs,s6a,s1c
10 |  | -12.98
11 |  | -12.69
12 |  | -13.84
13 |  | -12.99
14 |  | -29.21
15 |  | -28.86
16 |  | -19.87
17 |  | -13.65
18 |  | -13.74
19 |  | -14.31
20 |  | -14.29
21 |  | -14.09
22 |  | -12.79
23 |  | -13.12
24 |  | -13.33
25 |  | -14.29
26 |  | -12.93
27 |  | -13.29
28 |  | -13.15
29 |  | -13.80
30 |  | -13.58
31 |  | -12.76
32 |  | -13.63
33 |  | -14.79
34 |  | -26.58
35 |  | -14.41
36 |  | -12.16
37 |  | -13.80
38 |  | -13.15
39 |  | -14.24
40 |  | -13.00
41 |  | -16.11
42 |  | -12.54
43 |  | -14.99
44 |  | -12.59
45 |  | OFFLINE
46 |  | OFFLINE
47 |  | OFFLINE
48 |  | OFFLINE

## PS-VSSTAP
雁滩3楼
| 序号 | 临时测试流量 | 华为分光器OEO模块位置 | VSSTAP汇聚口 | VSSTAP输出口 | XPPU采集位置 | 20151228 流量M
GGSN11 | 1 | 312M | GGSN11-南9列07柜-1分4-1-1 | 北1列5架-TAP2-1A | 北1列5架-TAP2-M1 | 北1列8架-XPPU-RXGE2-1 | 0
| 2 | 82M | GGSN11-南9列07柜-1分4-1-2 | 北1列5架-TAP2-1B | 北1列5架-TAP2-M2 | 北1列8架-XPPU-RXGE2-2 | 0
| 3 | 0 | GGSN11-南9列07柜-1分4-1-3 | 北1列5架-TAP2-2A |  |  |  | 未输出到XPPU,待确认
| 4 | 0 | GGSN11-南9列07柜-1分4-1-4 | 北1列5架-TAP2-2B
GGSN03 | 5 | 0 | GGSN3-北7列-5柜-1分4-1-1 | 北2列1架-TAP1-1A
| 6 | 0 | GGSN3-北7列-5柜-1分4-1-2 | 北2列1架-TAP1-1B
| 7 | 253M | GGSN3-北7列-5柜-1分4-1-3 | 北2列1架-TAP1-2A | 北2列1架-TAP1-M1 | 北1列8架-XPPU-RXGE2-3 | 0
| 8 | 75M | GGSN3-北7列-5柜-1分4-1-4 | 北2列1架-TAP1-2B | 北2列1架-TAP1-M2 | 北1列8架-XPPU-RXGE2-4 | 0
GGSN10 | 9 | 147M | GGSN10-北7列-5柜-1分4-2-1 | 北2列1架-TAP2-1A | 北2列1架-TAP2-M1 | 北1列8架-XPPU-RXGE2-5 | 31.45
| 10 | 28M | GGSN10-北7列-5柜-1分4-2-2 | 北2列1架-TAP2-1B
| 11 | 205M | GGSN10-北7列-5柜-1分4-2-3 | 北2列1架-TAP2-2A | 北2列1架-TAP2-M2 | 北1列8架-XPPU-RXGE2-6 | 71.18
| 12 | 70M | GGSN10-北7列-5柜-1分4-2-4 | 北2列1架-TAP2-2B
西固4楼
| 序号 | 局向 | 临时测试流量 | 华为分光器OEO模块位置 | VSSTAP汇聚入口 | VSSTAP汇聚出口 | XPPU采集板端口 | 输出迁移到ida10-xigu-4-116
GGSN08 | 1 | GN | 45M | GGSN08-西7列5架-1分4-1-1 | 西4列5架-TAP3-A1 | 西4列5架-TAP3-M1 | 西8列4架-RXGE2-1 | xge_1/25
| 2 | GN | 360M | GGSN08-西7列5架-1分4-1-2 | 西4列5架-TAP3-B1
| 3 | GN | 170M | GGSN08-西7列5架-1分4-1-3 | 西4列5架-TAP3-A2 | 西4列5架-TAP3-M2 | 西8列4架-RXGE2-2 | xge_1/26
| 4 | GN | 370M | GGSN08-西7列5架-1分4-1-4 | 西4列5架-TAP3-B2
GGSN09 | 5 | GN | 38M | GGSN09-西7列5架-1分4-1-5 | 西4列4架-TAP5-A1 | 西4列4架-TAP5-M1 | 西8列4架-RXGE2-3 | xge_1/27
| 6 | GN | 350M | GGSN09-西7列5架-1分4-1-6 | 西4列4架-TAP5-B1
| 7 | GN | 170M | GGSN09-西7列5架-1分4-1-7 | 西4列4架-TAP5-A2 | 西4列4架-TAP5-M2 | 西8列4架-RXGE2-4 | xge_1/28
| 8 | GN | 350M | GGSN09-西7列5架-1分4-1-8 | 西4列4架-TAP5-B2
GGSN10 | 9 | GN | 190M | GGSN10-西7列5架-1分4-1-9 | 西4列4架-TAP6-A1 | 西4列4架-TAP6-M1 | 西8列4架-RXGE2-5 | xge_1/29
| 10 | GN | 390M | GGSN10-西7列5架-1分4-1-10 | 西4列4架-TAP6-A1
| 11 | GN | 43M | GGSN10-西7列5架-1分4-1-11 | 西4列4架-TAP6-A1 | 西4列4架-TAP6-M2 | 西8列4架-RXGE2-6 | xge_1/30
| 12 | GN | 380M | GGSN10-西7列5架-1分4-1-12 | 西4列4架-TAP6-A1
[7 empty] | 西8列4架-RXGE2-7 | xge_1/31
银滩2楼
| 序号 |  | 数据源端口 | VSSTAP汇聚端口 | VSSTAP汇聚输出端口 | XPPU接收端 | 20151228 流量M
GGSN12(LTE融合） | 1 | 218M | LZGGSN12-南16列02柜-1分4-3-5 | 南18列7柜-TAP1-1A | 南18列7柜-TAP1-M1 | 南11列3柜-RXGE2-1 | 0
| 2 | 27M | LZGGSN12-南16列02柜-1分4-3-6 | 南18列7柜-TAP1-1B
| 3 | 138M | LZGGSN12-南16列02柜-1分4-3-7 | 南18列7柜-TAP1-2A | 南18列7柜-TAP1-M2 | 南11列3柜-RXGE2-2 | 0
| 4 | 75M | LZGGSN12-南16列02柜-1分4-3-8 | 南18列7柜-TAP1-2B
GGSN4 | 5 |  | LZGGSN4-北15列5架-1分4分光器-1-1 | 南16列3柜-TAP1-1A | 南16列3柜-TAP1-M1 | 南11列3柜-RXGE2-3 | 0
| 6 |  | LZGGSN4-北15列5架-1分4分光器-1-2 | 南16列3柜-TAP1-1B
| 7 |  | LZGGSN4-北15列5架-1分4分光器-1-3 | 南16列3柜-TAP1-2A | 南16列3柜-TAP1-M2 | 南11列3柜-RXGE2-4 | 0
| 8 |  | LZGGSN4-北15列5架-1分4分光器-1-4 | 南16列3柜-TAP1-2B
GGSN5 | 9 |  | LZGGSN5-北15列5架-1分4分光器-2-1 | 南16列3柜-TAP2-1A | 南16列3柜-TAP1-M1 | 南11列3柜-RXGE2-5 | 0
| 10 |  | LZGGSN5-北15列5架-1分4分光器-2-2 | 南16列3柜-TAP2-1B
| 11 |  | LZGGSN5-北15列5架-1分4分光器-2-3 | 南16列3柜-TAP2-2A | 南16列3柜-TAP1-M2 | 南11列3柜-RXGE2-6 | 313.04
| 12 |  | LZGGSN5-北15列5架-1分4分光器-2-4 | 南16列3柜-TAP2-2B
GGSN6 | 13 |  | LZGGSN6-北15列5架-1分4分光器-3-1 | 南16列3柜-TAP4-1A | 南16列3柜-TAP1-M1 | 南11列3柜-RXGE2-7 | 274.59
| 14 |  | LZGGSN6-北15列5架-1分4分光器-3-2 | 南16列3柜-TAP4-1B
| 15 |  | LZGGSN6-北15列5架-1分4分光器-3-3 | 南16列3柜-TAP4-2A | 南16列3柜-TAP1-M2 | 南11列3柜-RXGE2-8 | 389.53
| 16 |  | LZGGSN6-北15列5架-1分4分光器-3-4 | 南16列3柜-TAP4-2B
Gn采集情况汇总
| PS已采集 | LTE已采集
GGSN03
GGSN04
GGSN05
GGSN06
GGSN07
GGSN08 |  | xigu-4-116
GGSN09 |  | xigu-4-112
GGSN10 |  | xigu-4-116
GGSN11
GGSN12 |  | yint-2-110
GGSN13 |  | xigu-4-116
GGSN14 |  | yint-3-112
GGSN15 |  | xigu-4-112

## 其他
|  |  | xgei | 博瑞德割接 | 1/2光纤标签 | 1/8光纤标签 | 汇聚侧光纤标签
ida10-xigu-4-115所在机柜最上面，炎强交换机 | s1c,sgs,s6a | MME01 | 5 |  | 1 | 41 | 33A
|  |  | 6 |  | 2 | 42 | 34A
|  |  | 7 |  | 3 | 43 | 35A
|  |  | 8 |  | 4 | 44 | 36A
|  |  | 9 |  | 5 | 45 | 37A
|  |  | 10 |  | 6 | 46 | 38A
|  |  | 11 |  | 7 | 47 | 39A
|  |  | 12 |  | 8 | 48 | 40A
|  |  | 13 |  | 9 | 49 | 41A
|  |  | 14 |  | 10 | 50 | 42A
|  |  | 15 |  | 11 | 51 | 43A
|  |  | 16 |  | 12 | 52 | 44A